### Planning and Building Unit Tullamore, Co. Offaly. Telephone: 057 9324300 or 01 889 6400 Fax: 057 9324411 Web: www.education.ie

Room: Science Laboratory

Chemistry – CHE Equipment List and Specification

There are six lists for science equipment, i.e. LAB, RES, DAT, CHE, PHY and BIO. The provision of science equipment for science laboratories is as follows: - One Basic Science List – LAB – for each science laboratory. - One Science Resource List– RES – for each two science laboratories. iii) One Data List – DAT, Part 1 - for each two science laboratories. iv) One Biology List – BIO – for each Biology provision (in addition to i) and ii) above) plus Part 2 of DAT List. v) One Chemistry List – CHE –for each Chemistry provision (in addition to i) and ii) above) plus Part 3 of DAT List. vi) One Physics List – PHY – for each Physics provision (in addition to i) and ii) above) plus Part 4 of DAT List vii) Max. no. of Senior Lists: 3 for up to 4 labs; 4 for 5 labs; 5 for 6 labs. Note: Where the symbol § is placed after a substance, a supplier who supplies a greater quantity than requested may be held responsible for removal and disposal of the excess.

Standards, Specifications and Conditions

All equipment shall be durable and safe for school use. Equipment wholly or partly funded from public funds is subject to inspection by officers from the Department of Education and Skills.

It is essential that tenders and tenderers for equipment for school use shall: - Comply fully with the specifications and be durable and safe for school use. - Comply fully with the standards as detailed and shall comply fully with European Standards (EN), both established and developing. - Comply with European electrical standards and CE marking as appropriate. - Fully comply with requirements in the Request for Tenders (RFT) document. - Be accompanied by documentation of sufficient detail for full evaluation. - Include the completed and signed certificate of compliance. Award of a contract is conditional on the production of a current tax clearance certificate. Failure to comply with the above may result in the tender being deemed null and void.

| ##### Section 1: Basic Science Equipment |  |  |  |
| --- | --- | --- | --- |
| Code Quantity | Descriptions and Specifications |  | Cost €: |
| CHE/100 2 | Aluminium metal sheets, 600 x 300 mm, c. 0.8 mm thick, pack 10 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/101 1 | Balance, electronic, digital display, top-loading, with serial interface: 0 – 300 g  0.001 g (i.e. to 3 decimal places = 1 mg). |  |  |
|  | Two year warranty. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/102 2 | Bulb-holders, medium, Edison screw, pack 10 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/103 10 | Bulbs, medium, Edison screw, 1.5 V, 0.3 A, pack 10 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/104 12 | Burette clamp, single, suit 25 cm3 pipettes, to suit 10 mm retort stand rods |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/105 2 | Burette storage racks, 10 slots |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/106 6 | Bunsen burner, semi micro, nickel-plated burner tube with adjustable air regulator on enamelled pressed steel base, tapered rifled gas inlet (mean OD 10 mm), burner tube 60 x 10 mm (height x diameter), base 80 mm diameter, suitable for LPG or natural gas, as required by school. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/107 6 | Tripod stand, triangular top, low form, for use with semi micro Bunsen burners (above), length of side 125 mm, height 154 mm |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/108 | Deleted. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/109 12 | Calorimeter, Joule, dc supply up to 4 V, 3 A. Complete with stirrer, terminals and heating coil, lagged and fitted with outer jacket, lid with hole for thermometer. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/110 50 | Carbon rods |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/111 2 | Colorimeter, general purpose laboratory, wavelength selection (range 400-710 nm) using 8 built-in filters, (typical band widths 40 nm), d.c. (12 V) and a.c. 230 V, 50 Hz, digital, LCD display, complete with cuvettes. |  |  |
|  | Two year warranty. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/112 6 | Comparator, Lovibond 2000 or equivalent, to determine chemical concentrations in water samples by visual colorimetry |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/113 6 | Lighting unit, standardised, mains operated, 230 V, suitable for use with Lovibond Comparator, or equivalent, above. |  |  |
|  | Two year warranty. |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/114 6 | Cell, 40 mm, rectangular moulded cell, calibrated at 20 cm3 for use with comparator, above |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/115 2 | Cell, 13.5 mm, moulded glass, precision square, capacity 10 cm3 for use with comparator above, pack of 5 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/116 6 | Discs for comparator 2000 system above, or equivalent to determine Chlorine in water, 0.02 to 0.3 mg/litre |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/117 | Deleted |  |  |
| CHE/118 1 | Chromatography paper, Whatman grade 1, or equivalent, 30 mm wide, reel 100 m |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/119 1 | Chromatography paper, Grade 1, sheets, 250 x 250 mm, pack 100 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/120 3 | Chromatography tank, thin-layer, to hold at least three plates, 10 cm x 20 cm with a heavy glass lid |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/121 3 | Stainless steel insert for TLC plates, to suit chromatography tank above |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/122 3 | Chromatography thin layer plates, flexible, 20 x 20 cm2, pack 25, to suit above tank |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/123 1 | Chart: Size approximately 100 x 75 mm2 coloured to illustrate the following: Chemistry: Organic chemistry chart - To give an overall view of organic chemistry and some of its many areas of achievement. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/124 6 | Carbon electrodes (pair), with stoppers and terminals. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/125 6 | Copper plate electrodes, supplied as pair, with stoppers and terminals |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/126 2 | Desiccator, glass, lid with knob, 200 mm, complete with discs |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/127 5 | Desiccator discs, for 200 mm desiccator |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/128 12 | Diffraction gratings, 100 lines/cm |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/129 1 | Discharge tube, mercury, Teltron or equivalent. |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/130 1 | Universal stand, to suit above. |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/131 | DELETED |  |  |
| CHE/132 10 | Filter paper, grade 1, qualitative general purpose, 15 cm, pack 100 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/133 2 | Filter paper, grade 1, qualitative general purpose, 18 cm, pack 100 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/134 2 | Filter paper, grade 1, qualitative general purpose, 24 cm, pack 100 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/135 6 | Gas syringe kit; complete with 3-way stopcock(1), gas syringe, glass 100 cm3(2), silica tube with plugs(2), bent tube(1), ‘T’ tube(1), test tube(1), pinhole tube(1), rubber connectors(8) and gas syringe holders. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/136 6 | Gas syringe, precision ground glass, gas tight and heat resisting, outlet tube external diameter 7 mm, capacity 100 cm3 x 1 cm3. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/137 1 | Rubber caps, self-sealing (vacuum), packet 12, for use with gas syringe above |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/138 1 | Hypodermic needles, 19G x 50 mm, pack 10, for gas syringe above. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/139 12 | Hirsch funnels, porcelain with perforated support plates, top diameter 50 mm, plate diameter 18 mm. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/140 1 | Molecular model set, atomic models (skeletal) containing 24 large spheres, 84 small spheres with flexible bonds. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/141 12 | Molecular model set, elementary organic chemistry, Molymod or equivalent,. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/142 6 | Molecular model set, organic (teachers) set, Molymod or equivalent |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/143 3 | Molecular model set, inorganic/organic set, Molymod or equivalent. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/144 2 | Model orbital molecular lattice set, with seven (7) crystal systems, number of atoms 240, number of bonds 250, Molymod or equivalent. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/145 1 | Model set, s, p and d orbitals, Darling model kit, or equivalent, approx. 103 pieces, flexible. |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/146 1 | Molecular model set, diamond, pre-assembled, Molymod or equivalent,. |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/147 1 | Molecular model set, graphite, pre-assembled, Molymod or equivalent |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/148 1 | Molecular model, sodium chloride lattice, Molymod or equivalent, |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/149 1 | Molecular model, ice, Molymod or equivalent. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/150 6 | Melting point apparatus, digital selection and display of temperature, built in illumination, to take up to two samples for simultaneous viewing, complete with 100 melting point tubes, open one end. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/151 2 | Melting point tubes, open at both ends, pack 100, to suit above |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/152 | deleted |  |  |
| CHE/153 2 | Paper rolls, spare, to suit above, 10 rolls per pack |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/154 2 | Pipette fillers, acid resistant plastic, for precision filling and dispensing from all standard pipettes, from micro size to 25 cm3, complete with release valve for rapid pipetting, green for pipettes 10 cm3 capacity |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/155 1 | Pipette washer-rinser, polyethylene, operates with water input up to 12 litres per minute |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/156 1 | Platinum wire, 28 SWG (0.32 mm), fused into glass handle, overall length approx 110 mm |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/157 | Deleted |  |  |
| CHE/158 1 | Smoke cell, Whitley Bay type, 4 mm connection sockets, integral illuminator, fixed focussing lens |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/159 1 | Spectrometer, suitable for student use, graduated in 30 minute increments, two Verniers, 180 degrees apart, Collimeter, with 178 mm rack and pinion focusing aperture, 25 mm diameter, variable slit, levelling screws. Prism table, diameter 86 mm (height adjustable and lockable). Telescope, with 178 mm rack and pinion focusing aperture, diameter 25 mm, Ramsden eyepiece. Flint prism, prism clamp, diffraction grating holder, cross line graticule, Vernier magnifier. Complete unit in packing case. |  |  |
|  | Two year warranty. |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/160 1 | Spectral lamp, sodium, to suit above |  |  |
| --- | --- | --- | --- |
|  | Two year warranty. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/161 1 | Spectral transformer and lamp house, to suit above. |  |  |
|  | Two year warranty. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/162 6 | Spectroscope, direct vision, fixed slit, high quality blazed diffraction grating, viewed via a fixed focus x2 magnifying eyepiece, complete with sample tubes, operating notes and student investigations. |  |  |
|  | Two year warranty. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/163 5 | Sphere, polystyrene, diameter 50 mm, pack 10 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/164 1 | Sphere, polystyrene, diameter 25 mm, pack 100 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/165 5 | Sphere, polystyrene diameter 63 mm, pack 10 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/166 2 | Glue, PVA, for polystyrene spheres above, per tube |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/167 1 | Steam generator, capacity 300 cm3 approx., steam exit pipe diameter 8 mm, AC 230 V, rating 500 W, dimensions 12.5 x 12.5 x 14 cm approx. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/168 1 | Tube, cathode ray, demonstration model in storage case, Teltron or equivalent |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/169 3 | Thermometer, digital, range -50 ºC to 200 ºC (approximately), hand held. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/170 1 | Wire, nichrome, bare, 22 SWG (0.64 mm), 125 g reel |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/171 1 | Wire strippers, insulated handles, spring loaded |  |  |
|  | Manufacturer: | Catalogue No: |  |

| Section 2: Glassware |  |  |  |
| --- | --- | --- | --- |
| CHE/200 12 | Jointed Glass, organic chemistry sets, one joint size 14/23; comprised of the following: 1 pear shaped flask, 50 cm3 capacity 1 still head 1 Liebig condenser 1 screw cap adapter 1 air leak/steam inlet tube 1 dropping funnel, 50 cm3 with GP Rotaflo tap or equal 1 stopper 1 thermometer |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/201 2 | Pipette, graduated, type I, class B, calibrated for delivery from zero mark at top to graduation mark, face marked, 25 cm3 capacity x 0.2 cm3 divisions, pack 5 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/202 2 | Pipette, graduated, calibrated for delivery from zero mark at top to graduation mark, face marked, 10 cm3 capacity x 0.1 cm3 divisions, pack of 5 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/203 6 | Flask, round bottom, jointed glass, three necks (14/23 each), 50 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/204 6 | Flask, pear shaped distillation, (socket and cone size 14/23), jointed glass, 100 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/205 3 | Flask, volumetric, glass, stoppered (polypropylene), class B, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/206 2 | Flask, volumetric, glass, stoppered (polypropylene), class B, 1000 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/207 3 | Flask, volumetric, glass, stoppered (polypropylene), class B, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/208 3 | Flask, volumetric, glass, stoppered (polypropylene), class B, 100 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/209 6 | Jointed glass, Buchner filter funnel, cone size 29/32, disc diameter 65 mm, funnel diameter 75 mm, sintered disc porosity 3. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/210 6 | Jointed glass, Buchner filter flask, push-in type connector to suit 9 mm vacuum tubing, capacity 250 cm3, socket size 29/32, approx. height 145 mm, approx. diameter 85 mm. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/211 12 | Gas jars, heavy glass, ground flange, 150 mm high x 50 mm internal diameter |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/212 12 | Gas jar covers, circular sheet glass, for 50 mm int. diameter jars, pack 10 |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/213 12 | Burette, soda glass, 25 cm3 x 0.1, one way PTFE key stopcock |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/214 6 | Dreschel gas washing bottles, 125 cm3 capacity, socket size 24/29 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/215 6 | Dreschel bottle heads, plain, cone size 24/29 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/216 1 | Solid-phase extraction, C18 isolute column, 500 mg/3 cm3, pack 50 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/217 5 | Solid-phase extraction column adaptor, isolute type, pack 10, to suit above |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/218 1 | Solid-phase extraction syringe, Leur slip, pack 100, to suit above |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/219 6 | Steam jacket and syringe. Syringe graduated 0-100 cm3 x 0.1 cm3, surrounded by borosilicate glass jacket supported in place by two rubber bungs also carrying inlet and outlet tube for steam and hole for thermometer. Overall length (215 mm) x diameter (60 mm). |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/220 15 | Test tube, side arm, borosilicate, 150 x 24 mm |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/221 15 | Thiele tubes, borosilicate melting point tube, diameter 25 mm, tube length c.165 mm. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/222 2 | Tubing, soda glass, 70/170 mm, outside diameter 6mm, pack 5 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/223 15 | U-tube, side arm, 125 x 15 mm |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/224 12 | Watch glasses, borosilicate glass, clear, with ground edges, 75 mm diameter |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/225 12 | Watch glasses, polythene, 100 mm diameter |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/226 12 | Watch glasses, polythene, 80 mm diameter |  |  |
|  | Manufacturer: | Catalogue No: |  |

| Section 4: Chemicals and Reagents |  |  |  |
| --- | --- | --- | --- |
| CHE/300 1 | Aluminium oxide, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/301 1 | Aluminium powder, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/302 1 | Ammonium chloride, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/303 1 | Ammonium iron(ll) sulfate, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/304 1 | Ammonium molybdate, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/305 1 | Ammonium metavanadate, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/306 1 | Ammonium phosphate (di-Ammonium hydrogen orthophosphate), 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/307 1 | Ammonium sulphate, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/308 1 | Barium chloride, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/309 1 | Benzaldehyde, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/310 1 | Benzoic acid, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/311 1 | Bismuth trichloride, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/312 10 | Bromine, 1 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/313 1 | Bromothymol blue pH indicator, 25 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/314 1 | Butan-1-ol, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/315 1 | Buffer capsules, pH 4, pack, 5 x 10 capsules |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/316 1 | Buffer capsules, pH 7, pack, 5 x 10 capsules |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/317 1 | Buffer capsules, pH 10, pack, 5 x 10 capsules |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/318 1 | Butanal (butyraldehyde), 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/319 1 | Butanoic acid (n-butyric acid), 500 cm3 |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/320 1 | Butanone (methyl ethyl ketone), 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/321 1 | Calcium carbide, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/322 1 | Calcium hypochlorite (bleaching powder), 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/323 1 | Calcium oxide, powder, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/324 1 | Citric acid, crystals, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/325 1 | Copper(II) chloride, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/326 | DELETED |  |  |
| CHE/327 1 | Copper(I) oxide (cuprous oxide), 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/328 1 | Copper(II) oxide (cupric oxide), 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/329 1 | Copper(II) carbonate hydroxide 1- hydrate (cupric carbonate), 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/330 1 | Cyclohexane, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/331 1 | Decon 90, or equivalent, 1 litre, |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/332 1 | DPD No. 1 tablet to test for free and total chlorine (comparator), 100 tablet per pack |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/333 1 | DPD No 3 tablet to test for free and total chlorine (comparator), 100 tablets per pack |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/334 1 | Ethanal (acetaldehyde), 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/335 1 | Ethanoic (acetic) acid, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/336 1 | Ethyl benzoate, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/337 1 | EDTA, disodium salt, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/338 1 | Ethyl ethanoate (ethyl acetate), 250 cm3 |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/339 1 | Ethanedioic acid (oxalic acid), 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/340 1 | Glycerol, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/341 1 | n-Heptane, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/342 3 | Hydrochloric acid, ampoules, 1 mol L-1, carton 6 ampoules |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/343 1 | Iron tablets, (200 mg FeSO4 per tablet), Ferrotab, Antigen Pharmaceuticals, Roscrea, or equal. Packet 50 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/344 1 | Iron(lll) chloride, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/345 1 | Lauroyl peroxide (di-Lauroyl peroxide), 10 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/346 1 | Liquid paraffin, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/347 1 | Lithium chloride, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/348 1 | Lycopodium powder, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/349 1 | Magnesium carbonate, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/350 1 | Magnesium sulfate, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/351 1 | Manganese sulfate dihydrate, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/352 1 |  |  |  |
| CHE/353 1 | Methanoic acid (formic acid, 98%), 1 litre |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/354 1 | Methanol, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/355 1 | Methyl orange powder, 25 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/356 1 | Methylbenzene (toluene), 100 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/357 1 | Nitric acid, concentrated, 1 litre |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/358 1 | n-Octane, 500 cm3 |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/359 1 | Pentane, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/360 1 | Petroleum ether (40 to 65 ºC), 1 litre |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/361 3 | Potassium manganate(VII), ampoules, 0.02 mol L-1 carton, 6 ampoules |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/362 1 | Potassium bromide, 50 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/363 1 | Potassium chloride, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/364 | DELETED |  |  |
| CHE/365 | DELETED |  |  |
| CHE/366 1 | Potassium hydroxide pellets, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/367 1 | Potassium iodate, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/368 1 | Potassium sodium tartrate, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/369 1 | Potassium thiocyanate, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/370 1 | Propanal (propionaldehyde), 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/371 1 | Propanone (acetone), 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/372 1 | Propan-1-ol, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/373 1 | Propan-2-ol (iso-propyl alcohol), 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/374 1 | Silver nitrate, 10 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/375 | DELETED |  |  |
| CHE/376 1 | Sodium ethanoate (sodium acetate), 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/377 1 | Sodium hypochlorite solution, 500 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |

| CHE/378 1 | Sodium sulfate, 250 g |  |  |
| --- | --- | --- | --- |
|  | Manufacturer: | Catalogue No: |  |
| CHE/379 1 | Sodium sulfite, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/380 1 | Sodium thiosulfate, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/381 1 | Solochrome black T, 25 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/382 1 | Strontium chloride, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/383 3 | Sodium hydroxide, ampoules, 0.5 mol L-1, carton, 6 ampoules |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/384 1 | Sulfuric acid, ampoules, 0.5 mol L-1, carton, 6 ampoules |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/385 1 | Sunflower oil, 250 cm3 |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/386 1 | Styrene (phenylethene), 1 L |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/387 1 | Tin foil, 0.10 mm, 100 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/388 1 | 2,2,4-trimethylpentane (iso-octane), 1 L |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/389 1 | Urea, 500 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/390 1 | Zinc carbonate, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/391 1 | Zinc powder, 250 g |  |  |
|  | Manufacturer: | Catalogue No: |  |

|  | ###### Section 4: Radiochemistry |  |  |
| --- | --- | --- | --- |
| ###### One Set only to be provided per School see PHY/500-504 |  |  |  |
| CHE/400 1 | Geiger-Muller tube, suitable for classroom use |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/401 1 | Holder and stand, suitable for use with Geiger-Muller tube CHE/400 above |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/402 1 | Scaler/ratemeter/timer for Geiger-Muller tube CHE/400 above. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/403 1 | Radioactive source kit, set of 3 source types- e.g. alpha (Po-210), beta (Sr-90) and gamma (Co-60) - embedded in colour coded epoxy material, safe for use in classroom. No source to exceed 1.2 μCi. To include holder for sources and a range of items needed for demonstration of the differing absorption/ penetration powers and the effect of magnetic field on the three types of radiation. Suitable for use with equipment PHY/500-502 above. |  |  |
|  | Manufacturer: | Catalogue No: |  |
| CHE/404 1 | “Radioactive” source, electronic, simulated, allows determination of “half-life”, random numbers and Poisson distribution curve, powered 12 V a.c./d.c. |  |  |
|  | Manufacturer: | Catalogue No: |  |

| ## Equipment for Science (Chemistry) ## Four Sections |  |  |  |
| --- | --- | --- | --- |
| Section | Code Quantity | Descriptions & Specifications | Total Cost €: |
| Section 1 | CHE/100 – CHE/171 | Basic Science Equipment. |  |
| Section 2 | CHE/200 – CHE/226 | Glassware |  |
| Section 3 | # CHE/300 – CHE/391 | Chemicals and Reagents |  |
| Section 4 | # CHE/400 – CHE/404 | Radiochemistry |  |
| # Sub-total: € |  |  |  |
| ### Add for VAT: € |  |  |  |
| Total Amount for CHE List: € |  |  |  |

| ###### Standards, Specifications and Conditions |  |  |  |  |
| --- | --- | --- | --- | --- |
| All equipment shall be durable and safe for school use. Equipment wholly or partly funded from public funds is subject to inspection by officers from the Department of Education and Skills. |  |  |  |  |
| It is essential that tenders and tenderers for equipment for school use shall: - Comply fully with the specifications and be durable and safe for school use. - Comply fully with the standards as detailed and shall comply fully with European Standards (EN), both established and developing. - Comply with European electrical standards and CE marking as appropriate. - Fully comply with requirements in the Request for Tenders (RFT) document. - Be accompanied by documentation of sufficient detail for full evaluation. - Include the completed and signed certificate of compliance. Award of a contract is conditional on the production of a current tax clearance certificate. Failure to comply with the above may result in the tender being deemed null and void. |  |  |  |  |
| Certificate of Compliance with Standards, Specifications and Conditions |  |  |  |  |
| I/We certify that the equipment tendered complies in all respects with the Standards, Specifications and other requirements/conditions specified in this tender document and in the Request for Tenders (RFT). I/We hold a current tax clearance certificate. |  |  |  |  |
| Company: |  |  |  |  |
| Signed: |  |  | Date: |  |
| Position: |  |  |  |  |